{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["OFFERTA ECONOMICA"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":4,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"OFFERTA ECONOMICA","index":0,"n_rows":425,"n_cols":16,"rows_kept":425,"cut":false,"hidden":false,"merged":[]}
[]
["categoria","Codifica ARPA","DESCRIZIONE \n(non sono accettabili prodotti equivalenti)","UNITA' di misura  (pz, , ml…) ","Confezione richiesta non vincolante","Produttore","CODICE Produttore","descrizione prodotto","produttore","codice produttore","codice fornitore se diverso da codice produttore","codice fornitore se diverso da codice produttore","confezionamento              OFFERTO","NOTE \n(ad es, prodotti alternativi per obsolescenza vedere nello specifico art 1 capitolato tecnico in particolare punto c    punto e "," Prezzo unità di misura (IVA esclusa) (in cifre con massimo 4 decimali)","Prezzo a confezione (IVA esclusa) "]
["CCA","CCA0003-00001pz","Colonna capillare Rxi-17Sil MS 30m, 0.25mm, 0.25µm,   (RESTEK cod. 14123)","pezzi",1,"RESTEK","14123"]
["CCA","CCA0005-00001pz","Colonna capillare Rxi-5ms Cap. Column 30m, 0.25mm ID, 0.25µ  ,   (RESTEK cod. 13423)","pezzi",1,"RESTEK","13423"]
["CCA","CCA0006-00001pz","Colonna capillare Rxi-624Sil MS, 30m, 0.25mm ID, 1.4µm,   (RESTEK cod. 13868)","pezzi",1,"RESTEK",13868]
["CCA","CCA0007-00001pz","Colonna capillare Agilent J&W DB-624, 60m, 0.25mm, 1.40µm,   (AGILENT TECHNOLOGIES ITALIA cod. 122-1364)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","122-1364"]
["CCA","CCA0008-00001pz","Colonna capillare Agilent J&W DB-5ms Ultra Inert, 30m, 0.25mm, 0.25µm,   (AGILENT TECHNOLOGIES ITALIA cod. 122-5532UI)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","122-5532UI"]
["CCA","CCA0009-00001pz","Colonna capillare Agilent J&W DB-624, 30m, 0.32mm, 1.80µm,   (AGILENT TECHNOLOGIES ITALIA cod. 123-1334)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","123-1334"]
["CCA","CCA0010-00001pz","Colonna capillare Agilent J&W DB-VRX, 30m, 0.32mm, 1.80µm,   (AGILENT TECHNOLOGIES ITALIA cod. 123-1534)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","123-1534"]
["CCA","CCA0012-00001pz","Colonna capillare Restek Rtx-1 60m, 0.32mm, 1.00µm ,   (RESTEK cod. 10157)","pezzi",1,"RESTEK","10157"]
["CCA","CCA0013-00001pz","Colonna capillare Restek Rtx-624 - 60m, 0.25mm, 1.40µm ,   (RESTEK cod. 10969)","pezzi",1,"RESTEK","10969"]
["CCA","CCA0015-00001pz","Colonna capillare HT8 - 8% Phenyl (equiv.) Polycarborane-Syloxane 50m, 0,22mm, 0,25µm,   (SGE Analytical Science cod. 054676)","pezzi",1,"SGE Analytical Science","054676"]
["CCA","CCA0017-00001pz","Colonna capillare Rxi-5Sil MS 30m, 0.25mm, 0.25µm, w/10 m Integra-Guard Column ,   (RESTEK cod. 13623-127)","pezzi",1,"RESTEK","13623-127"]
["CCA","CCA0018-00001pz","Colonna capillare Agilent J&W HP-5ms Ultra Inert, 30m, 0.25mm, 0.25µm,   (AGILENT TECHNOLOGIES ITALIA cod. 19091S-433UI)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","19091S-433UI"]
["CCA","CCA0019-00001pz","Colonna capillare Agilent J&W DB-624, 30m, 0.25mm, 1.40µm (sostituisce cod. 19091V-433),   (AGILENT TECHNOLOGIES ITALIA cod. 122-1334)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","122-1334"]
["CCA","CCA0022-00001pz","Colonna HPLC - Luna 5µm C18(2) 100 Å, 250x4.6mm,   (PHENOMENEX cod. 00G-4252-E0)","pezzi",1,"PHENOMENEX","00G-4252-E0"]
["CCA","CCA0025-00001pz","Colonna HPLC - Pursuit PAH, 5 µm, 4.6x250mm,   (AGILENT TECHNOLOGIES ITALIA cod. A7000250X046)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","A7000250X046"]
["CCA","CCA0033-00001pz","Colonna IC Metrosep A Supp 5 - 150/4.0,   (METROHM ITALIANA cod. 6.1006.520)","pezzi",1,"METROHM ","6.1006.520"]
["CCA","CCA0034-00001pz","Colonna IC Metrosep C4 - 250/4.0,   (METROHM ITALIANA cod. 6.1050.430)","pezzi",1,"METROHM ","6.1050.430"]
["CCA","CCA0036-00001pz","Precolonna Restek Rxi 5m, 0.53mm,   (RESTEK cod. 10054)","pezzi",1,"RESTEK",10054]
["CCA","CCA0039-00010pz","Precolonna HPLC - SecurityGuard cartridges for C18 HPLC columns with 3.2 to 8.0mm internal diameters,   (PHENOMENEX cod. AJ0-4287)","pezzi",10,"PHENOMENEX","AJ0-4287"]
["CCA","CCA0044-00001pz","precolonna IC -  Metrosep A Supp 4/5 Guard/4.0 - per colonna anionica IC Metrosep A Supp 4, 5 e 8,   (METROHM ITALIANA cod. 6.1006.500)","pezzi",1,"METROHM ","6.1006.500"]
["CCA","CCA0045-00001pz","precolonna IC -  Metrosep C 4 Guard/4.0 (per tutte le colonne cationiche Metrosep),   (METROHM ITALIANA cod. 6.1050.500)","pezzi",1,"METROHM ","6.1050.500"]
["CCA","CCA0051-00001pz","SecurityGuard Guard Cartridge Kit ,   (PHENOMENEX cod. KJ0-4282)","pezzi",1,"PHENOMENEX","KJ0-4282"]
["CCA","CCA0059-00001pz","Colonna HPLC Envirosep PP 125X4,60 mm 5 um ,   (PHENOMENEX cod. 00E 3029 E0)","pezzi",1,"PHENOMENEX","00E 3029 E0"]
["CCA","CCA0073-00001PZ","Colonna capillare Rtx-VMS 20m, 0.18mm, 1.00μm,   (RESTEK cod. 49914)","pezzi",1,"RESTEK",49914]
["CCA","CCA0075-00001PZ","Colonna capillare Zebron™ ZB-5MS, 60m, 0.25mm, 0.10µm ,   (PHENOMENEX cod. 7KG-G010-02)","pezzi",1,"PHENOMENEX","7KG-G010-02"]
["CCA","CCA0080-00001PZ","Outlet Valve,   (Metrohm Italiana Srl cod. 62824160) ","pezzi",1,"METROHM ","62824160"]
["CCA","CCA0081-00001PZ ","Inlet Valve,    (Metrohm Italiana Srl cod. 62824170)","pezzi",1,"METROHM "," 62824170"]
["CCA","CCA0082-00001PZ","Colonna capillare Agilent J&W DB-WAX, 30m, 0.25mm, 0.25µm,   (AGILENT TECHNOLOGIES ITALIA cod. 122-7032 )","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","122-7032 "]
["CCA","CCA0085-00001PZ","Colonna capillare Rxi-5ms Cap. Column 15 m, 0.25mm ID, 0.25µm  ,   (RESTEK cod. 13420)","pezzi",1,"RESTEK",13420]
["CCA","CCA0087-0001PZ","Colonna capillare Rxi-5Sil MS 15m, 0.32mm, 1,0µm,  (RESTEK cod. 565036)","pezzi",1,"RESTEK",565036]
["CCA","CCA0089-00006PZ","Precolonna Guard Column Siltek Deactivation 5m, 0.25mm ID,   (RESTEK cod. 10026-600)","pezzi",6,"RESTEK","10026-600"]
["CCA","CCA0091-00025PZ","connettore - Connector, Presstight Universal, Siltek deact  (RESTEK cod. RE20449)","pezzi",25,"RESTEK","RE20449"]
["CCA","CCA0092-00001PZ","Colonna capillare Rxi-1ms Cap. Column 30 m, 0.53mm ID, 1,0 µm  ,   (RESTEK cod.13355)","pezzi",1,"RESTEK",13355]
["CCA","CCA0094-00001PZ","LUNA Omega 3µm Polar C18 100 Å LC Column 100 X 3 mm ,   (PHENOMENEX cod. 00D-4760-YO)","pezzi",1,"PHENOMENEX","00D-4760-YO"]
["CCA","CCA0095-00001PZ","LUNA Omega 3µm Polar C18 100 Å LC Column 30 X 2.1 mm ,    (PHENOMENEX cod. 00A-4760-AN)","pezzi",1,"PHENOMENEX","00A-4760-AN"]
["CCA","CCA0099-00001PZ","Cartridge Strata-X 25µm -on line extraction- 20x2,0mm,    (Phenomenex cod. 00M-S033-B0-CB)","pezzi",1,"PHENOMENEX","00M-S033-B0-CB"]
["CCA","CCA0101-00001PZ","Colonna capillare Agilent J&W HP-5, 30m, 0.32mm, 0.25µm,   (AGILENT TECHNOLOGIES ITALIA cod. 19091J-413)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","19091J-413"]
["CCA","CCA0108-00001PZ","Colonna capillare Agilent J&W DB-WAXetr, 30m, 0.25mm, 0.25µm,   (AGILENT TECHNOLOGIES ITALIA cod. 122-7332 )","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","122-7332 "]
["CCA","CCA0113-00001PZ","Colonna anionica metrosep a supp 5 - 250/4.0,    (METROHM ITALIANA cod. 61006530)  ","pezzi",1,"METROHM ",61006530]
["CCA","CCA0114-00001PZ","Precolonna anioni metrosep a supp 5 guard/4.0,    (Cod. METROHM 61006500)","pezzi",1,"METROHM ",61006500]
["CCA","CCA0117-00001PZ","Precolonna analisi anioni Metrosep A Supp 10 Guard/4.0,   (METROHM ITALIANA cod. 6.1020.500)","pezzi",1,"METROHM ","6.1020.500"]
["CCA","CCA0119-00001PZ","Colonna Zebron ZB-PAH-EU, GC cap. column 30 m, 0,25 mm, 0,20 µm, (PHENOMENEX cod. 7HG-G043-10)","pezzi",1,"PHENOMENEX","7HG-G043-10"]
["CCA","CCA0120-00001PZ","Colonna IC Metrosep A Supp 10 - 100/4.0,   (METROHM ITALIANA cod. 6.1020.010)","pezzi",1,"METROHM ","6.1020.010"]
["CCA","CCA0121-00001PZ","Colonna capillare Rxi-PAH 40m, 0.18mm, 0.07µm (RESTEK cod. 49316) ","pezzi",1,"RESTEK",49316]
["CCA","CCA0122-00001PZ","LUNA Omega 3 µm PS C18 100 Å, LC Column 100 x 3.0 mm (PHENOMENEX cod.00D-4758-Y0)","pezzi",1,"PHENOMENEX","00D-4758-Y0"]
["CCA","CCA0123-00001PZ","ACQUITY UPLC HSS T3 Column, 100Å, 1.8 µm, 2.1 mm X 100 mm, 1pp/k (WATERS cod. 186003539)","pezzi",1,"WATERS",186003539]
["CCA","CCA0124-00001PZ","ACQUITY UPLC HSS T3 VanGuard Pre-column, 100Å, 1.8 µm, 2.1 mm X 5 mm, 3/pk (WATERS cod. 186003976)","pezzi",1,"WATERS",186003976]
["CCA","CCA0125-00001PZ","Colonna capillare J&W DB-624 20 m 0,18 mm diam. 1,00 film (AGILENT TECHNOLOGIES ITALIA cod. 121-1324)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","121-1324"]
["CCA","CCA-nocode1","Colonna Gemini® 3 µm C18 110 Å, LC Column 100 x 2,0 mm -(PHENOMENEX cod. 00D-4439-B0) ","pezzi",1,"PHENOMENEX","00D-4439-B0"]
["CCA","CCA-nocode2","Colonna Rtx-CLPesticides   30m, 0.25mm ID, 0.25um,   (RESTEK cod. 11123)","pezzi",1,"RESTEK",11123]
["CCA","CCA-No code3","Colonna HPLC -Alltima C18 Columns Particle Size: 3µm; 150x3.2mm ,   (ALLTECH cod. C-6000B)","pezzi",1,"ALLTECH","C6000B"]
["CCA","CCA-nocode4","Low-Pressure GC (LPGC) Column Kit   (RESTEK cod. 11800)","pezzi",1,"RESTEK",11800]
["CCA","CCA-nocode5","Colonna capillare Rxi-1 MS 30m, 0.32mm ID, 1 ,00um,  (RESTEK cod. 13354)","pezzi",1,"RESTEK",13354]
["CCA","CCA-nocode6","Colonna capillare Rxi-5 MS 15m, 0.32mm ID, 0.25um ,   (RESTEK cod. 13421)","pezzi",1,"RESTEK",13421]
["CCA","CCA-nocode7","Colonna HPLC - ZORBAX Eclipse PLUS C18, 4,6x250mm, 5µm,   (AGILENT TECHNOLOGIES ITALIA cod. 959990-902)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","959990-902"]
["CCA","CCA-nocode8","Bundle colonna GLYPHOTM - 4 + Precolonna 1 - Colonna proprietaria per la determinazione di Glyphosate e Pesticidi Polari. Dimensioni colonna 150 x 4 mm (ABSCIEX  cod. GLYPHO-004)","pezzi",1,"ABSCIEX","GLYPHO-004"]
["ASC","ASC0005-00001pz","Filament, high temperature E.I. ion source for GC/MS (sostituisce cod. G3170-60050),  (AGILENT TECHNOLOGIES ITALIA cod. G7005-60061)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","G7005-60061"]
["ASC","ASC0007-01000ml","olio - Olio pompa meccanica Inland 45, (AGILENT TECHNOLOGIES ITALIA cod. 6040-0834)","ml",1000,"AGILENT TECHNOLOGIES ITALIA","6040-0834"]
["ASC","ASC0008-00010gr","CAMPIONE DI PFTBA (AGILENT TECHNOLOGIES ITALIA cod. 8500-0656)","gr",10,"AGILENT TECHNOLOGIES ITALIA","8500-0656"]
["ASC","ASC0009-00001pz","dado - DADI PER INTERFACCIA GC-MS,  (AGILENT TECHNOLOGIES ITALIA cod. 05988-20066)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","05988-20066"]
["ASC","ASC0010-00010pz","guarnizione - Non stick liner O-ring,  (AGILENT TECHNOLOGIES ITALIA cod. 5188-5365)","pezzi",10,"AGILENT TECHNOLOGIES ITALIA","5188-5365"]
["ASC","ASC0011-00001pz","liner - Liner, Splitless, single tapered, no glass wool, (900 µl volume),deactivated for Agilent 6890 GC,  (AGILENT TECHNOLOGIES ITALIA cod. 5181-3316)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","5181-3316"]
["ASC","ASC0012-00010PZ","ferrule per GC zona iniettore - 0,4 mm ID  15%grafite/85%Vespel per colonna 0,10-0,25mm,  (AGILENT TECHNOLOGIES ITALIA cod. 5181-3323)","pezzi",10,"AGILENT TECHNOLOGIES ITALIA","5181-3323"]
["ASC","ASC0014-00100pz","tappo/ghiera - Cap, crimp, headspace, 20 mm, silver aluminum cap with safety feature, no septum (AGILENT TECHNOLOGIES ITALIA cod. 9301-0718)","pezzi",100,"AGILENT TECHNOLOGIES ITALIA","9301-0718 "]
["ASC","ASC0015-00100pz","setti - Setti in silicone, tan PTFE/white silicone, 20 mm, confezione da 100/pz (AGILENT TECHNOLOGIES ITALIA cod. 9301-0719)","pezzi",100,"AGILENT TECHNOLOGIES ITALIA","9301-0719"]
["ASC","ASC0016-00010pz","tappo/ghiera per iniettore - Gold seal ,ultra inert, w/washer,  (AGILENT TECHNOLOGIES ITALIA cod. 5190-6145)","pezzi",10,"AGILENT TECHNOLOGIES ITALIA","5190-6145"]
["ASC","ASC0017-00010pz","ferrula - Ferrule graphite, 0,8mm id, 0,45 to 0,53mm column,  (AGILENT TECHNOLOGIES ITALIA cod. 500-2118)","pezzi",10,"AGILENT TECHNOLOGIES ITALIA","500-2118"]
["ASC","ASC0020-00001pz","Super Clean Cartridge Filters Triple (O2, H2O, and HC) with indicator,  (THERMO FISHER SCIENTIFIC cod. 60180-824)","pezzi",1,"THERMO FISHER SCIENTIFIC","60180-824"]
["ASC","ASC0025-00010pz","ferrule per GC - Ferrule precondizionate,85% vespel e 15% grafite,d.i.0,4mm,per colonne da 0,1 a 0,25 mm  (per dado connessione massa Agilent),  (AGILENT TECHNOLOGIES ITALIA cod. 5062-3508)","pezzi",10,"AGILENT TECHNOLOGIES ITALIA","5062-3508"]
["ASC","ASC0032-00050pz","setti - Setti advanced green inlet septa 11mm,  (AGILENT TECHNOLOGIES ITALIA cod. 5183-4759)","pezzi",50,"AGILENT TECHNOLOGIES ITALIA","5183-4759"]
["ASC","ASC0036-00025pz","liner - Liner,UI,splitless,single taper,GW,  Ultra inert deactivation with glass wool (AGILENT TECHNOLOGIES ITALIA cod. 5190-3167)","pezzi",25,"AGILENT TECHNOLOGIES ITALIA","5190-3167"]
["ASC","ASC0040-00001pz","siringa per autocampionatore - SIRINGA 10ul tapered, fixed needle, PTFE-tipped plunger, 23-26s/42/HP,  (AGILENT TECHNOLOGIES ITALIA cod. 5181-3354)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","5181-3354"]
["ASC","ASC0041-00001pz","liner - PTV Liner, multi baffle, disattivato - ID 1,8 volume 150 µl ,  (AGILENT TECHNOLOGIES ITALIA cod. 5183-2037)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","5183-2037"]
["ASC","ASC0042-00001pz","siringa per autocampionatore - CrossLab syringe, 10 µL, fixed needle, 80 mm, 26 gauge, cone tip, perThermo GC TriPlus, AS2000 (equivalente a Thermo cod. 36502019),  (AGILENT TECHNOLOGIES ITALIA cod. 8002-0001)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","8002-0001"]
["ASC","ASC0047-00001pz","Siringa Fixed Needle, gauge 26, lungh. 80 mm, da 10 µl,  (THERMO FISHER SCIENTIFIC cod. 36502019)","pezzi",1,"THERMO FISHER SCIENTIFIC","36502019"]
["ASC","ASC0049-00005pz","ferrule per GC - ferrula graphpack 3D per inserti,  (AGILENT TECHNOLOGIES ITALIA cod. 5182-9749)","pezzi",5,"AGILENT TECHNOLOGIES ITALIA","5182-9749"]
["ASC","ASC0050-00005pz","liner - liner Inserto split, low press drop, disattivato,  (AGILENT TECHNOLOGIES ITALIA cod. 5183-4701)","pezzi",5,"AGILENT TECHNOLOGIES ITALIA","5183-4701"]
["ASC","ASC0051-00001pz","siringa per autocampionatore - Siringa 10 µl, AF, 23/42/HP straight,  (AGILENT TECHNOLOGIES ITALIA cod. 9301-0713 )","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","9301-0713 "]
["ASC","ASC0052-00006pz","siringa per autocampionatore - SIRINGA  5 ul  AGO  CON.  FN  23-26s,  (AGILENT TECHNOLOGIES ITALIA cod. 5181-8810)","pezzi",6,"AGILENT TECHNOLOGIES ITALIA","5181-8810"]
["ASC","ASC0054-00006pz","siringa per autocampionatore  - SIRINGA 10 µL tapered, fixed needle, 23-26s/42/HP,  (AGILENT TECHNOLOGIES ITALIA cod. 5181-3360)","pezzi",6,"AGILENT TECHNOLOGIES ITALIA","5181-3360"]
["ASC","ASC0055-00002pz","Dado - Universal Column nut, 1/16 in. hex for Agilent 6890 GC,  (AGILENT TECHNOLOGIES ITALIA cod. 5181-8830)","pezzi",2,"AGILENT TECHNOLOGIES ITALIA","5181-8830"]
["ASC","ASC0056-00006pz","siringa per autocampionatore - SIRINGA 5ul straight, fixed needle, 23/42/HP,  (AGILENT TECHNOLOGIES ITALIA cod. 5182-0875)","pezzi",6,"AGILENT TECHNOLOGIES ITALIA","5182-0875"]
["ASC","ASC0057-00005pz","liner - LINER UI SINGLE TAPER,  (AGILENT TECHNOLOGIES ITALIA cod. 5190-3162)","pezzi",5,"AGILENT TECHNOLOGIES ITALIA","5190-3162"]
["ASC","ASC0058-00005pz","liner - LINER UI DOUBLE TAPER,  (AGILENT TECHNOLOGIES ITALIA cod. 5190-4007)","pezzi",5,"AGILENT TECHNOLOGIES ITALIA","5190-4007"]
["ASC","ASC0059-00010pz","tappo/ghiera - Certified gold plated seal kit, included washer,  (AGILENT TECHNOLOGIES ITALIA cod. 5190-2209)","pezzi",10,"AGILENT TECHNOLOGIES ITALIA","5190-2209"]
["ASC","ASC0060-00010pz","ferrule per GC iniettore - GRANPHPACK 2M per colonne da 0,25 mm,  (AGILENT TECHNOLOGIES ITALIA cod. 5182-9768)","pezzi",10,"AGILENT TECHNOLOGIES ITALIA","5182-9768"]
["ASC","ASC0062-00050pz","SETTI per  MININERT VALVES,  (SIGMA ALDRICH cod. 33310-U)","pezzi",50,"SIGMA ALDRICH","33310-U"]
["ASC","ASC0063-00100pz","setti - Bleed and Temperature Optimized Septa (max T=400°C) 11 mm for Agilent 5880/90 e 6890 GC (AGILENT TECHNOLOGIES ITALIA cod. 5183-4757)","pezzi",100,"AGILENT TECHNOLOGIES ITALIA","5183-4757"]
["ASC","ASC0071-00002pz","PerformancePLUS™Check Valve Cartridges,  (WATERS cod. 700000254)","pezzi",2,"WATERS","700000254"]
["ASC","ASC0073-00005pz","Direct inlet liners,  (AGILENT TECHNOLOGIES ITALIA cod.5183-4709)","pezzi",5,"AGILENT TECHNOLOGIES ITALIA","5183-4709"]
["ASC","ASC0081-00100pz","Black 13x425 caps, PTFE/Silicone septa (AGILENT TECHNOLOGIES ITALIA cod.5183-4464)","pezzi",100,"AGILENT TECHNOLOGIES ITALIA","5183-4464"]
["ASC","ASC0090-00012pz","Diffusion inserts used with black open top screw caps,  (AGILENT TECHNOLOGIES ITALIA cod.07673-40180)","pezzi",12,"AGILENT TECHNOLOGIES ITALIA","07673-40180"]
["ASC","ASC0097-00001pz","filamento - Filament Assembly ION TRAP/DSQ II,   (THERMO FISHER SCIENTIFIC cod. 120320-0030)","pezzi",1,"THERMO FISHER SCIENTIFIC","120320-0030"]
["ASC","ASC0099-00010pz","S/SL Injector grafite Liner Seals,  (THERMO FISHER SCIENTIFIC cod.29033406 )","pezzi",10,"THERMO FISHER SCIENTIFIC","29033406"]
["ASC","ASC0100-00050pz","setti - Low-bleed red septa 11 mm with partial through-hole for Agilent 6890 GC -  (AGILENT TECHNOLOGIES ITALIA cod. 5181-3383)","pezzi",50,"AGILENT TECHNOLOGIES ITALIA","5181-3383"]
["ASC","ASC0102-00003pz","Ago siringa 5 µL; Stainless steel needle for 0.53 mm column,   (AGILENT TECHNOLOGIES ITALIA cod. 5182-0832)","pezzi",3,"AGILENT TECHNOLOGIES ITALIA","5182-0832"]
["ASC","ASC0110-00002PZ","Spacer for PTV injector,  (THERMO FISHER SCIENTIFIC cod. 29014278)","pezzi",2,"THERMO FISHER SCIENTIFIC",29014278]
["ASC","ASC0112-00010PZ","Ferrule 15%grafite/85% vespel,  0,1 to 0,25mm (THERMO FISHER SCIENTIFIC cod. 29033496)","pezzi",10,"THERMO FISHER SCIENTIFIC",29033496]
["ASC","ASC0113-000100PZ","Ferrule in grafite,  0,1  to 0,25mm  ID, .  (THERMO FISHER SCIENTIFIC  cod. 29053488)","pezzi",10,"THERMO FISHER SCIENTIFIC",29053488]
["ASC","ASC0114-00005PZ","Liner  3mm ID - 105mm  (THERMO FISHER SCIENTIFIC cod. 45350032)","pezzi",5,"THERMO FISHER SCIENTIFIC",45350032]
["ASC","ASC0115-00010PZ","Ferrule 85% Vespel/15% Graphite  short ferrule 0,53 mm,   (AGILENT TECHNOLOGIES ITALIA cod. 5062-3512)","pezzi",10,"AGILENT TECHNOLOGIES ITALIA","5062-3512"]
["ASC","ASC0116-00010PZ","Ferrule 85% Vespel/15% Graphite  short ferrule 0,32 mm,    (AGILENT TECHNOLOGIES ITALIA cod. 5062-3514)","pezzi",10,"AGILENT TECHNOLOGIES ITALIA","5062-3514"]
["ASC","ASC0117-00010PZ","Ferrule per adattatori per iniettori Graphpack-2M,  diam. int. Colonna 0,32 mm (AGILENT TECHNOLOGIES ITALIA.  cod. 5182-9769)","pezzi",10,"AGILENT TECHNOLOGIES ITALIA","5182-9769"]
["ASC","ASC0119-00001PZ","Column Nut, Self Tightening Inlet/Detect,   (AGILENT TECHNOLOGIES ITALIA.  cod. 5190-6194)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","5190-6194"]
["ASC","ASC0122-00001PZ","Tubo di pompaggio LFL (giallo/giallo), 3 stopper (Metrohm 6.1826.390)","pezzi",1,"METROHM ","6.1826.390"]
["ASC","ASC0123-00001PZ","Tubo di pompaggio PharMed® (arancio/giallo) 3 tappi,  (Metrohm 6.1826.420)","pezzi",1,"METROHM ","6.1826.420"]
["ASC","ASC0124-00050PZ","Membrane di filtrazione 1,  (Metrohm 6.2714.020)","pezzi",50,"METROHM ","6.2714.020"]
["ASC","ASC0138-00012PZ","Tubing, PVC 0.020\" (0.508 mm) i.d. Orange/Yellow,   (Hach - Lachat 53405)","pezzi",12,"HACH LANGE","53405"]
["ASC","ASC0139-00012PZ","Tubing, PVC 0.025\" (0.635 mm) i.d. Orange/White (Hach - Lachat 53406)","pezzi",12,"HACH LANGE","53406"]
["ASC","ASC0140-00012PZ","Tubing, PVC 0.035\" (0.889 mm) i.d., Orange/Orange,     (Hach - Lachat - 53408)","pezzi",12,"HACH LANGE","53408"]
["ASC","ASC0141-00012PZ","Tubing, PVC 0.040\" (1.016 mm) i.d. White/White,  (Hach - Lachat 53409)","pezzi",12,"HACH LANGE","53409"]
["ASC","ASC0142-00012PZ","Tubing, PVC 0.073\" (1.854 mm) i.d.Green/Green,  (Hach - Lachat  53414)","pezzi",12,"HACH LANGE","53414"]
["ASC","ASC0143-00012PZ","Tubing, PVC 0.060\" (1.524 mm) i.d. Yellow-Blue,  (Hach - Lachat 53419)","pezzi",12,"HACH LANGE","53419"]
["ASC","ASC0145-00001PZ","Ago per autocampionatore,  (Gilson cod. 27067362)","pezzi",1,"GILSON",27067362]
["ASC","ASC0146-01000PZ","Tappi rossi per SPE da 6ml (Gilson cod. 2954730)","pezzi",1000,"GILSON",2954730]
["ASC"," ASC0147-00006PZ ","Siringa Hamilton 701 N [26s/2''/2], da 10 µL, ","pezzi",6,"HAMILTON"]
["ASC"," ASC0148-00001PZ ","Siringa Hamilton 710 N (22s/2''/3), da 100 µL , ","pezzi",1,"HAMILTON"]
["ASC","ASC0156-00010PZ","Ferrula - capillary column ferrule, 0.8 mm id, graphite/polyimide, for 0.53 mm columns,  (AGILENT TECNOLOGIES ITALIA cod. 8010-0269)","pezzi",10,"AGILENT TECHNOLOGIES ITALIA ","8010-0269"]
["ASC","ASC0158-00025PZ","Inlet septa, general purpose, gray, 5 mm, through-hole (AGILENT TECHNOLOGIES ITALIA cod. 5181-1260)","pezzi",25,"AGILENT TECHNOLOGIES ITALIA ","5191-1260"]
["ASC","ASC0161-00010PZ","Ferrula - SilTite FingerTite Ferrule, 0.4mm,   (THERMO FISCHER SCIENTIFIC cod.  290S1132)","pezzi",10,"THERMO FISHER SCIENTIFIC","290S1132"]
["ASC","ASC0169-00010PZ","Ferrule, 0.5 mm id, preconditioned, 15% graphite/85% Vespel, 0.32 mm column, long,  (Agilent Technologies Italia cod. 5062-3506)","pezzi",10,"AGILENT TECHNOLOGIES ITALIA","5062-3506"]
["ASC","ASC0173-00005PZ","Split Liners 1,0 x 8,0 x 105 mm for Thermo GC deactivated,  (Restek cod. RE20917)","pezzi",5,"RESTEK","RE20917"]
["ASC","ASC0175-01000ML","Soluzione concentrata acido nitrico/acido dipicolinico per preparazione eluente, confezione da 1 litro (SIGMA ALDRICH cod. 61905-1L)","ml",1000,"SIGMA ALDRICH","61905-1L"]
["ASC","ASC0176-00001PZ","Tubo di pompaggio LFL (arancione/giallo), 3 stopper,  (Metrohm Italiana, cod. 61.826.320)","pezzi",1,"METROHM ",61826320]
["ASC","ASC0177-00001PZ","Siringa per autocampionatore TriPlus RSH Autosempler Syringe 26s gauge; 57 mm length; 10 µl,  (THERMOFISHER SCINTIFIC cod.365D0291) ","pezzi",1,"THERMO FISHER SCIENTIFIC","365D0291"]
["ASC"," ASC0178-00010PZ ","Ferrula - SilTite FingerTite Ferrule,  (THERMO FISCHER SCIENTIFIC cod. 290S1131) ","pezzi",10,"THERMO FISHER SCIENTIFIC","290S1131"]
["ASC"," ASC0179-00005PZ ","Liner 5mm ID - 105mm, per ss/ll,  (THERMO FISHER SCIENTIFIC cod. 45350033) ","pezzi",5,"THERMO FISHER SCIENTIFIC",45350033]
["ASC","ASC0186-00001PZ","Pumping tube LFL, white/white, 3 stopper  (METROHM  ITALIANA cod. 6.1826.360)","pezzi",1,"METROHM ","6.1826.360"]
["ASC","ASC0188-00010PZ","RP 2 Guard/3.5 replacements filter (METROHM ITALIANA cod. 6.1011.130)","pezzi",10,"METROHM ","6.1011.130"]
["ASC","ASC0193-00001PZ","Graphpak 2M inlet adapter 0,33/0,25mm (AGILENT TECHNOLOGIES ITALIA cod. 5182-9761) ","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","5182-9761"]
["ASC","ASC0194-00001PZ","Filtro in vetro, ingresso solvente, 20 um (AGILENT TECHNOLOGIES ITALIA cod.5041-2168) ","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","5041-2168"]
["ASC","ASC0195-00004PZ","Frit adaptor in PTFE, 3 mmm (AGILENT TECHNOLOGIES ITALIA cod.5062-8517","pezzi",4,"AGILENT TECHNOLOGIES ITALIA","5062-8517"]
["ASC","ASC0201-00001PZ","Carrier Line Filter (THERMO FISHER SCIENTIFIC cod, 28113196","pezzi",1,"THERMO FISHER SCIENTIFIC"," 28113196"]
["ASC","ASC0209-00001PZ","Essential MS Electrode turbo Kit (ABSCIEX cod. 5058491)","pezzi",1,"ABSCIEX","5058491"]
["ASC","ASC0210-00001PZ","Essential MS Kit (ABSCIEX cod. 5058495) ","pezzi",1,"ABSCIEX","5058495"]
["ASC","ASC0211-00001PZ","Pfa Tub(Nat).062 X 1/8 X 50' (Gilson, cod. UP-1509L) ","pezzi",1,"GILSON"," UP-1509L"]
["ASC","ASC0212-00001PZ","SUPER FLANGELESS TEFZEL FERRULE 1/8\" (Gilson, cod. UP-P-359X)","pezzi",1,"GILSON","UP-P-359X"]
["ASC","ASC0213-00010PZ","SF Nut 1/8in PEEK Nat (Gilson, cod. UP-P-331X) ","pezzi",10,"GILSON","UP-P-331X"]
["ASC","ASC0214-00001PZ","INLET SOLVENT FILTER 20um FOR 1/8\" (3.18) (Gilson, cod. UP-A-225A)","pezzi",1,"GILSON "," UP-A-225A"]
["ASC","ASC0215-00001PZ","GLASS VESSEL (Gilson, cod. FA-992) ","pezzi",1,"GILSON","FA-992"]
["ASC","ASC0225-00010PZ","Graphite Vespel Ferrule for 0.1-0.25 mm Column to be used with Spring-loaded Transfer Line Nut (FISHER SCIENTIFIC cod.290VA191)","pezzi",10,"THERMO FISHER SCIENTIFIC","290VA191"]
["ASC","ASC0227-00050PZ","Septum with Center Giude (FISHER SCIENTIFIC cod.31303233)","pezzi",50,"THERMO FISHER SCIENTIFIC","31303233"]
["ASC","ASC0228-00005PZ","Kit, Frit and Nut, 0.2 µL, 2.1 mm\n(Waters codice 700002775)","pezzi",5,"WATERS",700002775]
["ASC","ASC00231-00001PZ","Inlet liner, splitless, double taper, deactivated, no glass wool, (800 µl volume)  (AGILENT TECHNOLOGIES ITALIA cod. 5181-3315)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","5181-3315"]
["ASC","ASC0233-00001PZ","Gas clean carrier gas filter (AGILENT TECHNOLOGIES ITALIA cod. CP17973)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","CP17973"]
["ASC","ASC0234-00004PZ","TUBO IN FEP/M6/200 cm (Metrohnm Italiana cod 6.1805.530)","pezzi",4,"METROHM ","6.1805.530"]
["ASC","ASC0235-00200PZ","Provette IC da 11 ml (Metrohm Italiana cod. 6.2743.057)","pezzi",200,"METROHM ","6.2743.057"]
["ASC","ASC0236-00001PZ","Siringa da gas 2,5 mL , Model 1002 LTN CTC SYR, Cemented NDL, 23 ga, point style 5 (110 °C) per campionatore HS CombiPAL (HAMILTON cod. 203084)","pezzi",1,"HAMILTON",203084]
["ASC","ASC0237-00001PZ","CO2 absorption Cartridge CW (Metrohm cod. 62837100)","pezzi",1,"METROHM ",62837100]
["ASC","ASC0238-00100PZ","Tappo a vite Blu/setto PTFE/gomma (AGILENT TECHNOLOGIES ITALIA cod.5182-0717)","pezzi",100,"AGILENT TECHNOLOGIES ITALIA","5182-0717"]
["ASC","ASC0239-01000PZ","Tappo argento a chiusura meccanica , setto TEF PTFE trasparente/gomma rossa, 100mm (AGILENT TECHNOLOGIES ITALIA cod. 5183-4498)","pezzi",1000,"AGILENT TECHNOLOGIES ITALIA","5183-4498"]
["ASC","ASC0244-00010PZ","PE filter 2 µm - Ricambi per filtri in linea.\n(Metrohm cod.6. 2821.130)","pezzi",10,"METROHM ","6.2821.130"]
["ASC","ASC0245-00001PZ","siringa per autocampionatore - SIRINGA 5µl, ago conico FN23-26s/42/HP,  (AGILENT TECHNOLOGIES ITALIA cod. 5181-1273)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","5181-1273"]
["ASC","ASC0246-00001PZ","Ferrule, vespel, 1/8'' for top of Tekmar Purge&Trap  (AGILENT TECHNOLOGIES ITALIA cod. 15-0285-016)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","15-0285-016"]
["ASC","ASC0248-00025PZ","Fiala con tappo a vite, fiale di lavaggio da 4 mL con contrassegni di riempimento e tappo (senza setti), 25 / conf. Dimensioni fiala: 15 x 45 mm (tappo 13-425) (Agilent Technologies Italia cod. 51282-0551)","pezzi",25,"AGILENT TECHNOLOGIES ITALIA","5182-0551"]
["ASC","ASC0249-00001PZ","ESI Negative Calibration Solution for the Sciex X500, 100 ml (ABSCIEX cod. 5042913)","ml",100,"ABSCIEX",5042913]
["ASC","ASC0250-00001PZ","ESI Positive Calibration Solution for the Sciex X500 System, 100 ml (ABSCIEX cod. 5049910)","ml",100,"ABSCIEX",5049910]
["ASC","ASC0251-00001PZ","Replacement cartridge for inlet filter (DBS cod. N-CART001)","pezzi",1,"DBS"," N-CART001"]
["ASC","ASC0252-00001PZ","Filter for zero air generator (internal) (DBS cod. N-FIL002)","pezzi",1,"DBS","N-FIL002"]
["ASC","ASC0253-00001pz","Dejonizer LE bag (DBS cod. H200-031)","pezzi",1,"DBS","H200-031"]
["ASC","ASC0258-00001PZ","Fritted Purge Sampler size 25 mL, Tekmar,  per purge & trap ATOMIX,  (TEKMAR cod.14-2334-024)","pezzi",1,"TEKMAR","14-2334-024"]
["ASC","ASC0265-00001PZ","EI tungsten filament (THERMO FISHER SCIENTIFIC cod.1062950) ","pezzi",1,"THERMO FISHER SCIENTIFIC","1062950  "]
["ASC","ASC-nocode2","PEEK Washer for ASE 200 Extraction conf. da 250 pz.  (Restek  cod. 26120)","pezzi",250,"Restek",26120]
["ASC","ASC-nocode3","PEEK capillary 1/16in/ 0,5mm i.d.,  3m (Metrohm cod.6. 1831.180)","pezzi",1,"METROHM ","6.1831.180"]
["ASC","ASC-nocode5","Fid Jet Uninersal fit, 0,011 inch id (Agilent 5200-0176)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA ","5200-0176"]
["ASC","ASC-nocode6","Insert no rings, for 530 µm columns (Agilent 19245-20580","pezzi",1,"AGILENT TECHNOLOGIES ITALIA ","19245-20580"]
["ASC","ASC-nocode7","Kit, filtro in linea a colonna ACQUITY (Waters codice 205000343)","pezzi",1,"WATERS",205000343]
["ASC","ASC-nocode8","STANDARDS CHEMICAL KIT WITH LOW/HIGH CONCENTRATION PPGs Sciex (ABSCIEX cod. 4406127)","pezzi",1,"ABSCIEX",4406127]
["ASC","ASC-nocode9","1/16” Union for TIS Probe and APCI (ABSCIEX cod CTS-21137)","pezzi",1,"ABSCIEX","CTS-21137"]
["ASC","ASC-nocode10","Fingertight One Piece 10-32 PEEK™ Male Nut/Ferrule for 1/16\" OD Tubing (ABSCIEX cod 11-1240)","pezzi",10,"ABSCIEX","11-1240"]
["ASC","ASC-nocode11","Fitting 10-32 Fingertight PEEK™ Long Male One Piece for 1/16\" OD Tubing, 10/pk (ABSCIEX cod 11-1244)","pezzi",10,"ABSCIEX","11-1244"]
["ASC","ASC-nocode12","Sonda, 221 x 1,5 x 1,1 mm, smussata (Gilson cod. 27067361)","pezzi",1,"GILSON",27067361]
["ASC","ASC-nocode13"," Set seal rack  Cover R-48, PE (Buchi cod.046591)","pezzi",50,"Buchi",46591]
["ASC","ASC-nocode14","Restek Topaz Liner a cono singolo con lana, 5.0mm x 8.0 x 105  (Restek cod.23326)","pezzi",5,"RESTEK",23326]
["ASC","ASC-nocode15","Septa Holder for Thermo TRACE,for Thermo Scientific TRACE, 8000, 8000 TOP & Focus SSL,   Silcosteel-AC-Treated  (Restek cod. 24972)","pezzi",1,"RESTEK",24972]
["ASC","ASC-nocode16","Gold-Plated Liner Cap for Split/Splitless Injector on Thermo Scientific TRACE, 8000, 8000 TOP & Focus SSL   (Restek cod. 22089)","pezzi",1,"RESTEK",22089]
["ASC","ASC-nocode17","Vespel/Graphite Capillary Ferrules for 1/16-Inch Compression-Type Fittings  (Restek cod.20213)","pezzi",10,"RESTEK",20213]
["ASC","ASC-nocode18","Mini Hand Drill, includes 1 of each size: 0.4, 0.5, 0.8 mm  (Restek cod.20122)","pezzi",1,"RESTEK",20122]
["ASC","ASC-nocode19","Precolumn Filter Insert Assembly, (Waters cod. WAT005139)","pezzi",5,"WATERS","WAT005139"]
["ASC","ASC-nocode20","Siringa CTC da 1000 ul FN, GT, PTFE, 22, 60 mm, pt. 3, singolo (Leap Pal cod. PAL3- SF1000-57-T-22-FL)","pezzi",3,"LEAP PAL (CTC)","SF1000-57-T-22-F"]
["ASC","ASC-nocode21","Tubo capillare PTFE 1/16 0.5mm i.d./1m (cod Metrohm 61803040","pezzi",1,"METROHM ",61803040]
["ASC","ASC-nocode22","Tubo capillare PTFE 1/16 0.5 mm i.d. / 3 m (cod Metrohm 61803030)","pezzi",1,"METROHM ",61803030]
["ASC","ASC-nocode23","Capillari PEEK 0,5 mm diam. int. / 70 cm (cod Metrohm 61831160)","pezzi",1,"METROHM ",61831160]
["ASC","ASC-nocode24","Tubo capillare PEEK 0.50mm lungh,. i.d., 1 m (cod Metrohm 61831060)","pezzi",1,"METROHM ",61831060]
["ASC","ASC-nocode25","Tubo in PTFE / M6 / 2 m (cod Metrohm 61805530)","pezzi",1,"METROHM ",61805530]
["ASC","ASC-nocode26","Tubo in silicone 6 mm i.d., 1 m  (cod Metrohm 61816020)","pezzi",1,"METROHM ",61816020]
["ASC","ASC-nocode27","Filtro di aspirazione 20 um ,Dimensione dei pori 20 µm (cod Metrohm 62821090)","pezzi",5,"METROHM ",62821090]
["ASC","ASC-nocode28","Archetto per pompa peristaltica 1 (cod Metrohm 62755000)","pezzi",1,"METROHM ",62755000]
["ASC","ASC-nocode29","PTFE Frits ( AGILENT TECHNOLOGIES ITALIA cod.01018-22707) ","pezzi",5,"AGILENT TECHNOLOGIES ITALIA ","01018-22707"]
["ASC","ASC-nocode30","MICROPOROUS MONOLAYER MEMBRANE (PP) (Hach Lange cod. 5033101-10)","pezzi",1,"HACH LANGE","5033101-10"]
["ASC","ASC-nocode31","Siringa Hamilton da 5,0 ml FN, GT, PTFE, 22, 57, Pt. 3, singolo  (Leap Pal cod.PAL3-SYH-209205)","pezzi",3,"LEAP PAL (HAMILTON)","PAL3-SYH-209205"]
["ASC","ASC-nocode32","Siringa Hamilton da 250 ul FN, GT, PTFE, 22, 60 mm, pt. 3, singolo  (Leap Pal cod. PAL3-SYH-207828)","pezzi",3,"LEAP PAL (HAMILTON)","PAL3-SYH-207828"]
["ASC","ASC-nocode33","Siringa Hamilton da 100 µl FN, GT, PTFE, 22 s, 57 mm, pt. 3, singolo (Leap Pal cod. PAL3-SYH-208312)","pezzi",3,"LEAP PAL (HAMILTON)","PAL-SYH-208312"]
["ASC","ASC-nocode34","Topaz 4.0 mm ID Straight Inlet Liner w/ Wool (RESTEK cod. 23300)","pezzi",5,"RESTEK","23300"]
["ASC","ASC-nocode35","guarnizioni sottovuoto per evaporatori rotanti Buchi - Vacuum seal KD22 (Buchi cod.  00636)","pezzi",1,"BUCHI","00636"]
["CRT","CRT0009-00250pz","colonnine Bakerbond SPE Extraction Column 6mL x 500mg, PP, Octadecyl (C18) Reverse Phase,  (J.T.Baker cod. 7020-26)","pezzi",250,"J.T.Baker","7020-26"]
["CRT","CRT0011-00030PZ","colonnine SPESDB-1 Polymer Phase 200mg/6ml,   (J.T.Baker cod. 7519-05)","pezzi",30,"J.T.Baker","7519-05"]
["CRT","CRT0012-00020pz","colonnine Strata FL-PR Florisil, Giga Tubes (Det. C12-C40 terreni) 2g/12mL,   (PHENOMENEX cod. 8B-S013-KDG)","pezzi",20,"PHENOMENEX","8B-S013-KDG"]
["CRT","CRT0015-00050pz","Colonne ISOLUTE ENV+ 100mg/3mL,   (BIOTAGE cod. 915-0010-B)","pezzi",50,"BIOTAGE","915-0010-B"]
["CRT","CRT0016-00030pz","colonnine ISOLUTE C18 (EC) 500mg/6ml ,   (BIOTAGE cod. 221-0050-C)","pezzi",30,"BIOTAGE","221-0050-C"]
["CRT","CRT0017-00054pz","Colonne Supelclean ENVI18 SPE Tube - bed wt. 500mg/3mL,  (SIGMA ALDRICH cod. 57063)","pezzi",54,"SIGMA ALDRICH",57063]
["CRT","CRT0019-00030pz","colonnine ISOLUTE ENV+ (200mg/6ml),   (BIOTAGE cod. 915-0020-C)","pezzi",30,"BIOTAGE","915-0020-C"]
["CRT","CRT0021-00001KG"," resina CHEM TUBE-HYDROMATRIX Hydromatrix bulk material (AGILENT TECHNOLOGIES ITALIA cod. 198003) ","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","198003"]
["CRT","CRT0022-00001PZ ","Trappola Vocarb 3000 (AGILENT TECHNOLOGIES ITALIA cod. 5182-0775) ","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","5182-0775"]
["CRT","CRT0023-00001pz","TRAPPOLA VOCARB 3000,    (THERMO FISHER SCIENTIFIC cod. 14-5864-003)","pezzi",1,"THERMO FISHER SCIENTIFIC","14-5864-003 "]
["CRT","CRT0024-00001pz","Trappola Universale Grande serie RMS-2,   (AGILENT TECHNOLOGIES ITALIA cod. RMSH-2)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","RMSH-2"]
["CRT","CRT0027-00030pz","colonnine vuote - empty polypropylene SPE Tube with PE frits, 20 μm porosity\nvolume 6 mL (Supelco),   (SIGMA ALDRICH cod. 57026)","pezzi",30,"SIGMA ALDRICH",57026]
["CRT","CRT0031-00030pz","Purge/Trap K Vocarb 3000 configured for OI Analytical 4560,   (SIGMA ALDRICH cod. 24940-U)","pezzi",30,"SIGMA ALDRICH","24940-U"]
["CRT","CRT0033-00001PZ ","Trappola per filtro umidità - Gas clean filter moisture (AGILENT TEChNOLOGIES cod. CP17971) ","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","CP17971"]
["CRT","CRT0036-00030pz","colonnine Florisil - Bakerbond SPE glass 1000mg/8ml,   (J.T.Baker cod. 7420-07)","pezzi",30,"J.T.Baker","7420-07"]
["CRT","CRT0055-00050PZ","CLEAN-UP (Benzenesulfonic Acid) 500mg/6ml,   (UCT cod. CUBCX156)","pezzi",50,"UCT - United Chemical Technologies","CUBCX156"]
["CRT","CRT0058-00001PZ","VOCARB 3000 trappola per Velocity  (AGILENT TECHNOLOGIES ITALIA cod.5188-2795)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","5188-2795"]
["CRT","CRT0062-00001PZ","Trap, Vocarb 3000, U-shape per AtomX P&T (AGILENT TECHNOLOGIES ITALIA cod. 5188-8820)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","5188-8820"]
["CRT","CRTnocode1","STRAT-TRAP NUMBER 9 (U SHAPED) (TEKMAR cod. 14-9908-403 )","pezzi",1,"TEKMAR","14-9908-403"]
["CRT","CRTnocode2 ","TRAPPOLA  N.10  TENAX/SILGEL/CMS  PER  PURGE  &  TRAP  OI 4660  (OI ANALYTICAL  cod. 228122)","pezzi",1,"OI ANALYTICAL",228122]
["CRT","CRTnocode3","STRAT-TRAP VOCARB 3000 (TEKMAR cod. 14-5864-403)","pezzi",1,"TEKMAR","14-5864-403"]
["ASM","ASM0001-00001PZ","cono - Cono di separazione in nichel, per 7500,  (AGILENT TECHNOLOGIES ITALIA cod. G1820-65238)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","G1820-65238"]
["ASM","ASM0002-00001PZ","cono - Skimmer cone nickel for 7500 CX ,  (AGILENT TECHNOLOGIES ITALIA cod. G3270-65024)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","G3270-65024"]
["ASM","ASM0003-00001PZ","PTFE DOSING TUBE( bottle valve cannula) (Analytik Jena cod. 407-232.379)","pezzi",1,"ANALYTIK JENA","407-232.379"]
["ASM","ASM0004-00006PZ","PUMPING HISE ORANGE/ORANGE,  (Analytik Jena cod. 407-233906)","pezzi",6,"ANALYTIK JENA"," 407-233906"]
["ASM","ASM0005-00001PZ","SETCANNULA AS52S,  (Analytik Jena cod. 407-402601)","pezzi",1,"ANALYTIK JENA","407-402601"]
["ASM","ASM0006-00001PZ","Adapter plate for reference cover - (MILESTONE cod 050183)","pezzi",1,"MILESTONE",50813]
["ASM","ASM0007-00001PZ","ATC 400 spring - (MILESTONE cod 050184)","pezzi",1,"MILESTONE",50184]
["ASM","ASM0008-00001PZ","Sensore ATC -400CE, lunghezza 160 mm per Rotori 1 serie -SK, (Milestone, cod. 050214)","pezzi",1,"MILESTONE","050214"]
["ASM","ASM0009-00001PZ","ATC thermowell  complete with seal,   (Milestone, cod. 055135)","pezzi",1,"MILESTONE","055135"]
["ASM","ASM0017-00001PZ","Syring connettor, (Anton Paar cod. 2722)","pezzi",1,"ANTON PAAR",2722]
["ASM","ASM0018-00001PZ","Safety disck holder  M&H - (Anton Paar cod 2723)","pezzi",1,"ANTON PAAR",2723]
["ASM","ASM0019-00016PZ","Set venting screw,  (Anton Paar cod. 16389)","pezzi",16,"ANTON PAAR",19389]
["ASM","ASM0024-00012PZ","tubo - PVC  PUMP  TUBES  1.14 mm  ID  RED/RED (PERKIN ELMER ITALIA cod. 09908585 )","pezzi",12,"PERKIN ELMER",9908585]
["ASM","ASM0025-00001PZ","guarnizione - O-Ring Kit. Consists of a selection of O-rings for the Optima 4000/2000 demountable torch. (PERKIN ELMER ITALIA cod. N0770437)","pezzi",1,"PERKIN ELMER","N0770437"]
["ASM","ASM0028-00012PZ","tubo - Black/Black 0.76mm i.d. PVC Peristaltic Pump Tubing (PERKIN ELMER ITALIA cod. 09908587)","pezzi",12,"PERKIN ELMER",9908587]
["ASM","ASM0035-00001PZ","FIAS capillary Tubing assembly for PerkinElmer AS-90/90A/90 Plus/91/93 Plus/S10 Autosampler, Length: 1m, Inner Diameter: 0.6mm, Two Fittings (PERKIN ELMER ITALIA cod. B3000158)","pezzi",1,"PERKIN ELMER","B3000158"]
["ASM","ASM0038-00001PZ","torcia - Quartz Torch, Demountable, Single Slot, Standard Torch for Aqueous Solutions,  (PERKIN ELMER ITALIA cod. N0770338)","pezzi",1,"PERKIN ELMER","N0770338"]
["ASM","ASM0043-00001PZ","Sampling Probe with Screw Fitting (PERKIN ELMER ITALIA cod. B3000152)","pezzi",1,"PERKIN ELMER"," B3000152"]
["ASM","ASM0049-00001PZ","Nickel (Ni) Lumina Hollow Cathode Lamp, Diameter: 50mm (2in.) ¿ codice N3050152","pezzi",1,"PERKIN ELMER","N3050152"]
["ASM","ASM0050-00001PZ","THGA Graphite Contact Cylinder, 1 Pair,  (PERKIN ELMER ITALIA cod. B0504035)","pezzi",1,"PERKIN ELMER","B0504035"]
["ASM","ASM0051-00001PZ","Chromium (Cr) Lumina Hollow Cathode Lamp, Diameter: 50mm (2in.),   Perkin Elmer Italia cod. N3050119)","pezzi",1,"PERKIN ELMER","N3050119"]
["ASM","ASM0052-00001PZ","Multi-Element Co-Cr-Cu-Fe-Mn-Ni Lumina Hollow Cathode Lamp, Diameter 50mm (2in.) - (PERKIN ELMER ITALIA N3050217)","pezzi",1,"PERKIN ELMER","N3050217"]
["ASM","ASM0054-01000PZ","cuvette - CUVETTE  POLIETILENE  2 ml  PER  AUTO  CAMPIONATORE  FORNETTO (PERKIN ELMER ITALIA cod. B0087056)","pezzi",1000,"PERKIN ELMER","B0087056"]
["ASM","ASM0057-00020PZ","fornetto - THGA Graphite Tubes with End Cap (PERKIN ELMER ITALIA cod. B3000655)","pezzi",20,"PERKIN ELMER","B3000655"]
["ASM","ASM0060-00001PZ","guarnizione - O-ring, vacuum chamber, Viton SEAL ID .330MM, FKM - (Agilent Technologies Italia cod. 5042-0901)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA"," 5042-0901"]
["ASM","ASM0062-00001PZ","guarnizione - O-ring cono campionamento (FKM),  (AGILENT TECHNOLOGIES ITALIA cod. G1820-65025)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","G1820-65025"]
["ASM","ASM0063-00001PZ","Sample rack 21 positions (Agilent Technologies Italia cod. G3286-80103)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","G3286-80103"]
["ASM","ASM0069-003000ml","Olio per pompe -tipo IVT -V plus 19 (AGILENT TECHNOLOGIES ITALIA cod. 6040-0798)","ml",3000,"AGILENT TECHNOLOGIES ITALIA","6040-0798"]
["ASM","ASM0072-00001PZ","Lente di estrazione 2 per 7500ce,cx - (AGILENT TECHNOLOGIES ITALIA cod. G3270-65029)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","G3270-65029"]
["ASM","ASM0073-00001PZ","Carbon fiber sample probe, 0.8 mm id. (red band) for use with G3286-80300 Z-drive assembly with ASX 500 autosampler for ICP-MS systems,  (AGILENT TECHNOLOGIES ITALIA cod.  G3286-80110)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","G3286-80110"]
["ASM","ASM0076-00001PZ","Torch, quartz, 2.5 mm id, standard for Agilent 7700/8800 series ICP-MS, not suitable for samples containing hydrofluoric acid - (AGILENT TECHNOLOGIES ITALIA cod. G3280-80053)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","G3280-80053"]
["ASM","ASM0078-00001PZ","Spray chamber, double-pass, quartz, standard for Agilent 7700/8800 series and 7500 series - (AGILENT TECHNOLOGIES ITALIA cod. G3280-80008)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","G3280-80008"]
["ASM","ASM0080-00001PZ","Torch quartz 2.5mm ID for 7500 ICP-MS (sostituisce cod. G3270-67002),  (AGILENT TECHNOLOGIES ITALIA cod. G3270-80043)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","G3270-80043"]
["ASM","ASM0081-00001PZ","Skimmer cone Ni per ICP-MS 7700x ,  (AGILENT TECHNOLOGIES ITALIA cod. G3280-67041)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","G3280-67041"]
["ASM","ASM0083-00001PZ","Nickel (Ni) sampling cone used with x-lens, standard cone with Agilent 7700x/e and 8800 ICP-MS, but also suitable for other 7700/8800 series ICP-MS, use with Ni skimmer cone and stainless steel skimmer base ,  (AGILENT TECHNOLOGIES ITALIA  cod. G3280-67040)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","G3280-67040"]
["ASM","ASM0085-00001PZ","attrezzo - Coperchio per torcia Shield (AGILENT TECHNOLOGIES ITALIA cod. G1833-65421)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","G1833-65421"]
["ASM","ASM0087-00001PZ","attrezzo - Piastra di schermatura,  (AGILENT TECHNOLOGIES ITALIA cod. G1833-65419)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","G1833-65419"]
["ASM","ASM0088-00001PZ","Nebulizzatore MicroMist,  (AGILENT TECHNOLOGIES ITALIA cod. G3266-65003)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","G3266-65003"]
["ASM","ASM0092-00001PZ","Guarnizione per sensore di pressione/Tem - (Anton Paar cod. 2725)","pezzi",1,"ANTON PAAR",2725]
["ASM","ASM0094-00001PZ","Seal Hush,  (Anton Paar cod. 14614)","pezzi",1,"ANTON PAAR",14614]
["ASM","ASM0101-00012PZ","Peripump (AGILENT TECHNOLOGIES ITALIA cod. 5043-0010)","pezzi",12,"AGILENT TECHNOLOGIES ITALIA","5043-0010"]
["ASM","ASM0113-00001PZ","AP-45-HT piatto adattatore - (FKV cod. ML34306)","pezzi",1,"MILESTONE","ML34306"]
["ASM"," ASM0114-00001PZ","HTC-1000 molla speciale in HTC per alta pressione (FKV cod. ML34010)","pezzi",1,"MILESTONE",34010]
["ASM"," ASM0115-00001PZ","TFM vessel da 100ml (FKV cod. 33806)","pezzi",1,"MILESTONE",33806]
["ASM","ASM0117-00001PZ","ATC Coperchio in TFM per misura della temperatura (completo) - (FKV cod. ML050211)","pezzi",1,"MILESTONE","ML050211"]
["ASM","ASM0120-00001PZ","Iron (Fe) Lumina Hollow Cathode Lamp, Diameter: 50mm (2in.) (Perkin Elmer Italia cod. N3050126","pezzi",1,"PERKIN ELMER","N3050126"]
["ASM","ASM0121-00001PZ","Strontium (Sr) Lumina Hollow Cathode Lamp, Diameter: 50mm (2in.) (Perkin Elmer Italia codice N3050176)","pezzi",1,"PERKIN ELMER","N3050176"]
["ASM","ASM0128-00001PZ","Sample Intake Hose,  (Analytik Jena cod. 407-170050)","pezzi",1,"ANALYTIK JENA","407-170050"]
["ASM","ASM0129-00001PZ","Contenitore in TFM per HPS-100, ,  per starter kit (FKV cod. ML 34040)","pezzi",1,"MILESTONE","ML 34040"]
["ASM","ASM0130-00001PZ","ATC coperchio per contenitore di riferimento,  (FKV cod. ML 055136)","pezzi",1,"MILESTONE","ML 055136"]
["ASM","ASM0132-00001PZ","2.0 mm i.d. Alumina Injector for the Cyclonic/Concentric Kit 2x00/4x00/5x00/7x00 DV (PERKIN ELMER ITALIA cod. N0775177)","pezzi",1,"PERKIN ELMER","N0775177"]
["ASM","ASM0133-00001PZ","Nebulizzatore Mira Mist, PEEK, 0.2-2.5 mL/min Uptake Rate,  (Perkin Elmer Italia cod. N0775330)","pezzi",1,"PERKIN ELMER","N0775330"]
["ASM","ASM0134-00120PZ","Copper Ignitor Tape per torcia in quarzo, (Perkin Elmer Italia cod. N0775297)","pezzi",120,"PERKIN ELMER","N0775297"]
["ASM","ASM0135-00001PZ","Alumina Injector i.d. 2,0 mm,  (Perkin Elmer Italia cod. N8125029)","pezzi",1,"PERKIN ELMER","N8125029"]
["ASM","ASM0136-00001PZ","O-Ring Kit for Injector Support Adapter,    (PERKIN ELMER cod. N0770438)","pezzi",1,"PERKIN ELMER","N0770438"]
["ASM","ASM0139-00001PZ","Axial Purge Extension Window for Optima 3x00/4x00/5x00/7x00 DV/8300,   (PERKIN ELMER cod. N0771116)","pezzi",1,"PERKIN ELMER","N0771116"]
["ASM","ASM0149-00012PZ","Tubing, peristaltic pump, Ismaprene, 3-bridged, yellow/blue tabs, 1.52 mm id, for pumping drain (AGILENT TECHNOLOGIES ITALIA cod. G1833-65570)","pezzi",12,"AGILENT TECHNOLOGIES ITALIA"," G1833-65570"]
["ASM","ASM0150-00003PZ","Gasket, graphite for Sampling cone, (Agilent Technologies cod. G3280-67009","pezzi",3,"AGILENT TECHNOLOGIES ITALIA","G3280-67009"]
["ASM","ASM0152-00001PZ","STUB STORAGE BOX for 14 pin type stubs (Tipo Cod. AG-G3100 Ditta Assing)","pezzi",1,"ASSING","AG-G3100"]
["ASM","ASM0153-00100PZ","SEM specimen stubs, 12,5mm dia 6mm pin (Tipo Cod. AG-G301F Ditta Assing)","pezzi",100,"ASSING","AG-G301F"]
["ASM","ASM0154-00050PZ","SEM specimen stubs, 25mm dia 6mm pin (Tipo cod. AG-G399F, Ditta Assing)","pezzi",50,"ASSING","AG-G399F"]
["ASM","ASM0155-00030ML","Leit-C Conducting Carbon Cement, (Tipo Cod. AG-G3300 Ditta Assing)","pezzi",1,"ASSING","AG-G3300"]
["ASM"," ASM0170-00025PZ"," O-ring Viton (HACH LANGE cod. 50013)","pezzi",25,"HACH LANGE",50013]
["ASM","ASM0171-00020PZ","Tubi di grafite con piattaforma integrata per GFAA (Graphite Tubes Integrated Plattform) (PERKIN ELMER ITALIA, cod. B3001264)","pezzi",20,"PERKIN ELMER","B3001264"]
["ASM","ASM0175-00012PZ","MPP Santoprene Tubing, 1.30mm, grey /grey (PERKIN ELMER ITALIA cod. N8145173)","pezzi",12,"PERKIN ELMER","N8145173"]
["ASM","ASM0176-00001PZ","Fixed 2.0 mm Injector UHP Quartz Torch, for NexION 1000 (PERKIN ELMER ITALIA cod. N8152428)","pezzi",1,"PERKIN ELMER","N8152428"]
["ASM","ASM0177-00001PZ","Nichel Sampler cone per NexION 1000 (PERKIN ELMER cod. W1033612)","pezzi",1,"PERKIN ELMER","W1033612"]
["ASM","ASM0178-00001PZ","Nichel Skimmer Cone per NexION 1000 (PERKIN ELEMER cod. W1026356)","pezzi",1,"PERKIN ELMER","W1026356"]
["ASM","ASM0179-00001PZ","Hyper Skimmer cone for NexION (PERKIN ELMER ITALIA cod. W1033995)","pezzi",1,"PERKIN ELMER","W1033995"]
["ASM","ASM0180-00001PZ","Hyper skimmer Cone O-Ring for NexION 1000 (0.614 ID x 0.070 WD) (PERKIN ELMER ITALIA Italia cod. 09902123)","pezzi",1,"PERKIN ELMER","09902123"]
["ASM","ASM0181-00001PZ","Hyper Skimmer Screw for NexION 1000 (PERKIN ELMER ITALIA cod. WE027484)","pezzi",1,"PERKIN ELMER","WE027484"]
["ASM","ASM0182-00001PZ","Glass Cyclonic C3 High Sensitivity Spray Chamber with Matrix Gas Port for NexION 1000 (PERKIN ELMER cod. N8152389)","pezzi",1,"PERKIN ELMER","N8152389"]
["ASM","ASM0184-00001PZ","Fixed 2.0 mm I.D. Injector Quartz Torch (Blue Mark) for NexION 1000 (PERKIN ELEMR cod. N8152472)","pezzi",1,"PERKIN ELMER","N8152472"]
["ASM","ASM0185-00001PZ","Concentric Type CT R + Nebulizer for NexION 1000 (PERKIN ELMER cod. N8152373)","pezzi",1,"PERKIN ELMER","N8152373"]
["ASM","ASM0188-00001PZ","Lumina Single Element Hallow Cathod Lamp Piombo (PERKIN ELMER cod. N3050157)","pezzi",1,"PERKIN ELMER","N3050157"]
["ASM","ASM0199-00100PZ","Cotton swab ultra-fine cone bud shape , both ends, per 7500ce,cx (AGILENT TECHNOLOGIES ITALIA cod. 9300-2574)","pezzi",100,"AGILENT TECHNOLOGIES ITALIA","900-2574"]
["ASM","ASM0204-00100PZ","Universal Soft Tin  Cont.  (Thermo Fisher Scientific cod. 24006400)","pezzi",100,"THERMO FISHER SCIENTIFIC",24006400]
["ASM","ASM0205-00006PZ","Tubo per acido e agente riducente - viola (Analytik Jena cod. 407-401241)","pezzi",6,"ANALYTIK JENA","407-401241"]
["ASM","ASM0206-00001PZ","Reactor and connector-tubing inc, connectors (reactor loop) (Analytik Jena cod. 407-170057)","pezzi",1,"ANALYTIK JENA","407-170057"]
["ASM","ASM0207-00001PZ","Tubo di inserimento acido e agente riducente (Analytik Jena cod. 407-170060)","pezzi",1,"ANALYTIK JENA","407-170060"]
["ASM","ASM0208-00001PZ","Tubo di collegamento dal reattore al gls (Analytik Jena cod. 407-170058)","pezzi",1,"ANALYTIK JENA","407-170058"]
["ASM","ASM0209-00001PZ","Tubo di collegamento da reattore a gruppo doppia valvola (Analytik Jena cod. 407-170056)","pezzi",1,"ANALYTIK JENA","407-170056"]
["ASM","ASM0210-00001PZ","Membrana pre-essicamento (Analytik Jena cod. 407- 170067)","pezzi",1,"ANALYTIK JENA","407-170067"]
["ASM","ASM0211-00001PZ","Tubo di scarico (Analytik Jena cod. 407-170055)","pezzi",1,"ANALYTIK JENA","407-170055"]
["ASM","ASM0215-00001PZ","Set di tubi per mercur (Analytik Jena cod. 470-170114)","pezzi",1,"ANALYTIK JENA","470-170114"]
["ASM","ASM0217-00001PZ","Box porta pin stub EM-Tec SC12 (Jeol cod.13-095012)","pezzi",1,"JEOL","13-095012"]
["ASM","ASM0219-00100PZ","Dischetti biadesivi conduttivi diametro 12 mm EM-Tec CT 12 (Jeol cod.15-000412)","pezzi",100,"JEOL","15-000412"]
["ASM","ASM0220-00050PZ","Dischetti biadesivi conduttivi diametro 25 mm EM-Tec CT 25 (Jeol cod.15-000425)","pezzi",50,"JEOL","15-000425"]
["ASM","ASM0221-00050PZ","Rotolo biadesivo conduttivo 8mm x 20 m (Jeol cod.15-000508)","pezzi",50,"JEOL","15-000508"]
["ASM","ASM0224-00001PZ","Liner F100 TFM (Anton Paar cod. 2433)","pezzi",1,"ANTON PAAR",2433]
["ASM","ASM0225-00100PZ","Sample Vials,12 ml with cap (Elementar , Cod. S05 002 030)","pezzi",100,"ELEMENTAR","S05 002 030"]
["ASM","ASM0226-01500PZ","Cover foil (Elementar , Cod. S34 00 0052","pezzi",1500,"ELEMENTAR","S34 00 0052"]
["ASM","ASM0232-00001PZ","AQUATAK (DRYING AGENT) WITHOUT INDICATOR, 50 g (ELEMENTAR cod. S05 002 799)","pezzi",1,"ELEMENTAR"," S05 002 799"]
["ASM","ASM0233-00001PZ","ASH CRUCIBLE, QUARTZ, SLOTTED (ELEMENTAR cod. S38.00-1290)","pezzi",1,"ELEMENTAR","S38.00-1290"]
["ASM","ASM0234-00001PZ","ASH FINGER, L = 60 mm, slotted quartz (cod. S11.00-1170/4)","pezzi",1,"ELEMENTAR","S11.00-1170/4"]
["ASM","ASM0235-0001PZ","BRASS WOOL, 50 g (ELEMENTAR cod. S38.00-0124)","pezzi",1,"ELEMENTAR","S38.00-0124"]
["ASM","ASM0236-00001PZ","CANNULA 0.5 mm (ELEMENTAR cod. S38.00-1252)","pezzi",1,"ELEMENTAR","S38.00-1252"]
["ASM","ASM0237-00001PZ","COMBUSTION REDUCTION TUBE (ELEMENTAR cod. S11.00-1150/4)","pezzi",1,"ELEMENTAR","S11.00-1150/4"]
["ASM","ASM0238-00001PZ","GLASS TUBE, L = 300 mm, incl. caps (ELEMENTAR cod. S15.00-0080)","pezzi",1,"ELEMENTAR","S15.00-0080"]
["ASM","ASM0239-00001PZ","QUARTZ CHIPS, 50 g, TOC-systems (ELEMENTAR cod. S05 000 900)","pezzi",1,"ELEMENTAR","S05 000 900"]
["ASM","ASM0240-00001PZ","QUARTZ WOOL FOR ELEMENTAL ANALYSIS, 10 g (cod. S03 679 908)","pezzi",1,"ELEMENTAR","S03 679 908"]
["ASM","ASM0241-00001PZ","PROTECTIVE TUBE, L = 105 mm, slotted (ELMENTAR cod. S11.00-1317/4","pezzi",1,"ELEMENTAR","S11.00-1317/4"]
["ASM","ASM0242-00001PZ","Pt-catalyst, 1% Pt, 25 ml, TOC-systems (ELEMENTAR cod. S05 001 380)","pezzi",1,"ELEMENTAR","S05 001 380"]
["ASM","ASM0243-00001PZ","VACUUM GREASE, 2 g (cod. S35.00-0074)","pezzi",1,"ELEMENTAR"," S35.00-0074"]
["ASM","ASM0246-00001PZ","Arsenic System 2 Electrodeless Discharge Lamp (Perkin Elmer Italia cod. N3050605)","pezzi",1,"PERKIN ELMER"," N3050605"]
["ASM","ASM0248-00001PZ","Cadmium System 2 Electrodeless Discharge Lamp (Perkin Elmer Italia cod. N3050615)","pezzi",1,"PERKIN ELMER","N3050615"]
["ASM","ASM0250-00001PZ","Sampler Cone Gasket for NexION 300/350/1000/2000/5000 (Perkin Elmer Italia cod. W1040148)","pezzi",1,"PERKIN ELMER","W1040148"]
["ASM","ASM0251-00012PZ","Flared PVC MP2 Two-Stop Peristaltic Pump Tubing - 0.76 mm I.D., Black/Black, (Perkin Elmer Italia cod. N8145202)","pezzi",12,"PERKIN ELMER","N8145202"]
["ASM","ASM0252-00012PZ","PVC Pure Flared Two-Stop Pump Tubing - 0.38 mm I.D., Orange/Green per NexION (Perkin Elmer Italia cod. N8152403)","pezzi",12,"PERKIN ELMER","N8152403"]
["ASM","ASM0256-00012PZ","Flared PVC MP2 Two-Stop Peristaltic Pump Tubing - 0.38 mm I.D., Orange/Green, per NEXION (Perkin Elmer Italia cod. N8145197 revB)","pezzi",12,"PERKIN ELMER","N8145197 revB"]
["ASM","ASM0261-00001PZ","Cuvette campione per torbidimetro Laser da banco TU5200 (Hach-Lange cod. LZV946)","pezzi",1,"HACH LANGE","LZV946"]
["ASM","ASM0265-00012PZ","PVC MP2 Peripump Flared Tubing 0,19 mm (ORG-RED) 12 pz. (Perkin Elmer cod. N8145195 REV A)","pezzi",12,"PERKIN ELMER"," N8145195 REV A"]
["ASM","ASM0266-00012PZ","2-stop PVC MP2 Peripump Tubing 0,76mm (BLK-BLK) 12 pz. (Perkin Elmer cod. N8145153 REV A)","pezzi",12,"PERKIN ELMER"," N8145153 REV A"]
["ASM","ASM0267-00012PZ","Peristaltic pump tubing Two-Stop solvent Flex -red/red i.d. mm 1.14 (Perkin Elmer cod. 09923037)","pezzi",12,"PERKIN ELMER",9923037]
["ASM","ASM0270-00001PZ","Quartz connector tube from spry chamber to torch without gas port, (Agilent Technologies Italia cod. G3270-80025)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","G3270-80025"]
["ASM","ASM0271-00001PZ","Quartz connector from spray chamber to torch with dilution port for high matrix introduction (HMI). (Agilent Technologies Italia cod. G3270-80024)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","G3270-80024"]
["ASM","ASM0272-00001PZ","Gas Clean carrier gas purifier (Agilent Technologies Itlalia cod: CP 17973)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA",17973]
["ASM","ASM0276-00001PZ","HBD-03 Coperchio in TFM (FKV cod. ML34043)","pezzi",1,"MILESTONE","ML34043"]
["ASM","ASM0277-00001PZ","PR-56 Anello di protezione (FKV cod. ML34056)","pezzi",1,"MILESTONE","ML34056"]
["ASM","ASM0281-00001PZ","Adattatore per chiave dinamometrica (FKV cod. ML934063)","pezzi",1,"MILESTONE","ML934063"]
["ASM","ASM0282-00001PZ","HS-08 HTC Protection Shield for HPS-100 (FKV cod. ML 34048)","pezzi",1,"MILESTONE","ML34048"]
["ASM","ASM0283-00004PZ","Set of solvent beaker, glass, 70mm, 150ml  SOHXLET B 811 (Buchi cod. 37276)","pezzi",4,"BUCHI",37276]
["ASM","ASM0284-00004PZ","Set of gasket  SOHXLET B 811, PTFE (Buchi cod. 037388)","pezzi",4,"BUCHI",37388]
["ASM","ASM0285-00004PZ","Cuvette cilindriche; cammino ottico 100 mm, Quarzo (Suprasil®) (HELLMA cod.120-100-40)","pezzi",4,"HELLMA","120-100-40"]
["ASM","ASM0286-00001PZ","Guarnizioni per cannule (Elementar cod. S38.00-1249","pezzi",1,"ELEMENTAR","S38.00-1249"]
["ASM","ASM0289-00001PZ","MARSXpress plug (Tappi di chiusura vessel)","pezzi",1,"CEM CORPORATION",212020]
["MAM","MAM0289-01000PZ","Multicell cuvettes, per AquaKem, conf. da 40x25 pz, cod. 984000, ditta Thermo-AHSI","pezzi",1000,"Thermo-AHSI",984000]
["ASM","ASMnocode1","Single Crystal LaB6 Cathode Style 9015 on Leica base (Assing cod. VE-KIES 423E-9015)","pezzi",1,"ASSING","VE-KIES 423E-9015"]
["ASM","ASMnocode2","Lab6 Filament (TEE8115) (Jeol  cod. 417001037)","pezzi",1,"JEOL",417001037]
["ASM","ASMnocode3","MARSXpress Liner and Cap, 55 mL PFA","pezzi",1,"CEM CORPORATION",574125]
["ASM","ASMnocode5","MARSXpress 55 ml Composite Sleeve (Mantello per vessel)","pezzi",1,"CEM CORPORATION",212025]
["ASM","ASMnocode6","MARSXpress Torque Tool (Chiave di chiusura vessel)","pezzi",1,"CEM CORPORATION",185245]
["ASM","ASMnocode7","O-ring axial window  (Perkin Elmer cod. 0990-2143)","pezzi",1,"PERKIN ELMER","0990-2143"]
["ASM","ASMnocode8","Torch Clamp O-Ring, 15.54 mm I.D.  (Perkin Elmer cod. 09902155)","pezzi",1,"PERKIN ELMER",9902155]
["ASM","ASMnocode9","AIR FILTER RIGHT SIDE FOR NEXION  (Perkin Elmer cod. N8152136)","pezzi",1,"PERKIN ELMER","N8152136"]
["ASM","ASMnocode10","Quartz connector tube from spry chamber to torch  (Agilent Technologies Italia cod. G1833-65426)","pezzi",1,"AGILENT TECHNOLOGIES ITALIA","G1833-65426"]
["ASM","ASMnocode11","Gas liquid separator per Mercur (Analytic Jena cod.407-170.240)","pezzi",1,"ANALYTIK JENA","407-170.240"]
["ASM","ASMnocode12","Filtro Diametro 18mm  (Elementar cod. S03002399)","pezzi",1,"ELEMENTAR","S03002399"]
["ASM","ASMnocode13","Prepacked Quartz Reactor for CHNS/NCS/S Determination (Thermo Fisher Scientific cod. 46802015)","pezzi",1,"THERMO FISHER SCIENTIFIC",46802015]
["ASM","ASMnocode14","Coperchio in TFM 56mm, (Milestone, cod. DD00040)","pezzi",1,"Milestone","DD00040"]
["ASM","ASMnocode15","Quartz crucible 22 x 15mm - (Skalar cod. 2CS22003)","pezzi",32,"SKALAR","2CS22003"]
["ASM","ASMnocode16","Acid proof sparging needle (Skalar cod. 22CA16256)","pezzi",1,"SKALAR","22CA16256"]
["ASM","ASMnocode17","Sample needle for dilutions (Skalar cod. 2CA16221)","pezzi",1,"SKALAR","2CA16221"]
["ASM","ASMnocode18","Tube, quartz for TC reactor (Skalar cod. 2CA16060)","pezzi",1,"SKALAR"," 2CA16060"]
["ASM","ASMnocode19","Ferrule 8mm (Skalar cod. 90037921)","pezzi",1,"SKALAR",90037921]
["ASM","ASMnocode20","O-ring preci.sili. 70 ,9.3x2.4 (Skalar cod. 9003955)","pezzi",1,"SKALAR",9003955]
["ASM","ASMnocode21","O-ring prec.sili 70,37.82x1.78 (Skalar cod. 90039556)","pezzi",1,"SKALAR",90039556]
["ASM","ASMnocode22","Sealring small (Skalar  cod. 2CA16126)","pezzi",1,"SKALAR","2CA16126"]
["ASM","ASMnocode23","Sealring large  (Skalar  cod. 2CA16127)","pezzi",1,"SKALAR"," 2CA16127"]
["ASM","ASMnocode24","O-ring 21.3x2.4 viton (Skalar cod. 90039534)","pezzi",1,"SKALAR",90039534]
["ASM","ASMnocode25","Flanged tubing 650mm PE 1.0x2.7mm (Skalar cod. 2CA16342)","pezzi",1,"SKALAR","2CA16342"]
["ASM","ASMnocode26","Flanged tubing (syringe to IC) (Skalar cod. 2CA16343)","pezzi",1,"SKALAR","2CA16343"]
["ASM","ASMnocode27","O-ring Viton 16x4mm (Skalar cod. 90039564)","pezzi",1,"SKALAR",90039564]
["ASM","ASMnocode28","O-ring Viton 11x2.5mm - sostituisce il cod. 90039597 -(Skalar cod. 90039533)","pezzi",1,"SKALAR",90039533]
["ASM","ASMnocode29","Catalyst, Cobalt Chromium for TOC/TN, 50g (Skalar cod. 2CA10317)","pezzi",1,"SKALAR","2CA10317"]
["ASM","ASMnocode30","Catalyst, Platinum granules for acidified matrix, 50g (Skalar cod. 2CA10316)","gr",50,"SKALAR","2CA10316"]
["ASM","ASMnocode31","Flanged tubing (for sampling) 1200mm PE 1,0x2,7mm (Skalar  cod. 2CA16341)","pezzi",1,"SKALAR","2CA16341"]
["ASM","ASMnocode32","Pump tubing for rinsing pump orange/black (Skalar cod. 1060)","pezzi",8,"SKALAR",1060]
["ASM","ASMnocode33","Peristaltic Pump Tubing for ICP-MS (AGILENT TECHNOLOGIES ITALIA cod. 5005-0020","pezzi",12,"AGILENT TECHNOLOGIES ITALIA","5005-0020"]
["APC","APC0004-00001PZ","elettrodo - ELETTRODO per  microcampioni diam. 3 mm con testa a vite S7. Range pH 0-14. Range temperatura 0-80°C (CRISON cod. 5208)","pezzi",1,"CRISON","5208"]
["APC","APC0005-00001PZ","Elettrodo a penetrazione punta mm 6 rif. XEROLYT - (CRISON cod. 5232)","pezzi",1,"CRISON",5232]
["APC","APC0006-00001PZ","CELLA  DI  CONDUCIBILITA`  CRISON  Mod. 52 93,  CAVO  di 1 mt  CON  2   CONNETTORI  A  BANANA  e  1  TELEFONICO - (CRISON cod. 5293)","pezzi",1,"CRISON",5293]
["APC","APC0008-00001PZ","Sensore di temperatura con cavo integrato - (METTLER TOLEDO cod. 51109828)","pezzi",1,"METTLER TOLEDO",51109828]
["APC","APC0009-00001PZ","Elettrodo in platino con sensore della temperatura integrato. Lunghezza cavo 1 m. Range di misura da 0,01 a 500 mS/cm - (METTLER TOLEDO cod. 51302256)","pezzi",1,"METTLER TOLEDO",51302256]
["APC","APC0011-00001PZ","SONDA CONDUCIBILITA` INLAB 731, (METTLER TOLEDO cod. 51344020)","pezzi",1,"METTLER TOLEDO","51344020"]
["APC","APC0012-00001PZ","ELETTRODO ad anello in platino combinato con diaframma in ceramica, intervallo di misura Mv -2000 ¿ +2000, intervallo di temperatura 0-80°C,lunghezza 104 mm, diam 12 mm,  (METTLER TOLEDO cod 89598 Type DM 140 -SC)","pezzi",1,"METTLER TOLEDO"," 89598 Type DM 140 -SC"]
["APC","APC0014-00001PZ","elettrodo - ELETTRODO PH INLAB EXPERT  PRO   (METTLER TOLEDO  cod. 51343101)","pezzi",1,"METTLER TOLEDO","51343101"]
["APC","APC0015-00001PZ","SONDA OSSIGENO CELLOX 325 1MT CAVO (WTW cod. 201533)","pezzi",1,"WTW","201533"]
["APC","APC0016-00001PZ","Scatola accessori ZBK325 OSSIMETRO (WTW cod. 202 706)","pezzi",1,"WTW","202 706"]
["APC","APC0017-00001PZ","elettrodo combinato per pH tipo sentix 41  attacco DIN sensore di temperatura integrato cavo da 1 metro,  (WTW cod. 9040876)","pezzi",1,"WTW","9040876"]
["APC","APC0019-00001PZ","T201 Sensore di temperatura in vetro, connettore a spina - (RADIOMETER ANALYTICAL cod. E51M001)","pezzi",1,"Radiometer Analytical","E51M001"]
["APC","APC0020-00001PZ","Elettrodo di pH combinato, testa vite S7, corpo in vetro (Æ mm 12) e membrana cilindrica  Xs sensor, per pHmetro Delta Ohm HD 2105.1  (Geass srl cod.32200363)","pezzi",1,"GEASS",32200363]
["APC","APC0026-00001PZ","Elettrodo pH UNITRODE,  (Metrohm cod. 60.258.60)","pezzi",1,"METROHM ","60.258.60"]
["APC","APC0027-00001PZ","Cella conduttimetrica,  5-ring technology with Pt1000 for the 856 Conductivity Module (Metrohm cod. 60.915.100)","pezzi",1,"METROHM ",60915100]
["APC","APC0033-00001PZ","elettrodo per ph range 0-14 con attacco BNC plug per Phmetro RADIOMETER,  (RADIOMETER ANALYTICAL cod. E16M318)","pezzi",1,"Radiometer Analytical","E16M318"]
["APC","APC0034-00001PZ","SONDA TETRACON CONDUCIBILITA’ 4-ELETTRODI, waterproof, connettore DIN,  (WTW cod. 301960)","pezzi",1,"WTW",301960]
["APC","APC0035-00001PZ","Elettrodo Inlab Expert Sensore di pH combinato con shaft in PEEK e testa a vite 57  (METTLER TOLEDO cod. 51343100)","pezzi",1,"METTLER TOLEDO",51343100]
["APC","APC0040-00001PZ","Orion¿ 9107BN Triode¿ 3-in-1 pH/Automatic Temperature Compensation Probe (Thermo Fisher Scientific  cod. 9107BNMD)","pezzi",1,"THERMO FISHER SCIENTIFIC","9107BNMD"]
["APC","APC0041-00001PZ","Orion¿ 2-Electrode Conductivity Cells (Thermo Fisher Sientific cod. 018020MD)","pezzi",1,"THERMO FISHER SCIENTIFIC","018020MD"]
["APC","APC0043-00001PZ","Soluzione Elettrolitica Acetato di Litio 0,1M per tutti gli ISO (CRISON conf. 125 ml)","pezzi",1,"CRISON"]
["APC","APC0046-00250PZ","Becker per campioni in plastica da 120ml in PP con filetto , altezza 110mm, diametro 40mm per autocampionatore Metrohm (Metrohm cod. 6.1459.300)","pezzi",250,"METROHM ",61459300]
["APC","APC0047-00250PZ","Coperchio a vite con filetto per la chiusura sicura di recipienti da 120 mL, in PP diamentro 40mm adattabili a becker Metrohm  cod. 6.1459.300  (Metrohm  cod. 6.1459.320)","pezzi",250,"METROHM ",61459320]
["APC","APC0049-00001PZ","Acquatrode plus con Pt1000 (Metrohm cod. 60257600)","pezzi",1,"METROHM ",60257600]
["APC","APC0050-00001PZ","Elettrodo di riferimento sensION+ per ISE, diaframma in ceramica, connettore a banana (Hach Lange cod. LZW5044.97.0002)","pezzi",1,"HACH LANGE","LZW5044.97.0002"]
["APC","APC0051-00001PZ"," Elettrodo ISE 9655, fluoro, cavo fisso da 1 m, BNC  (Hach Lange cod. LZW9655.97.002)","pezzi",1,"HACH LANGE","LZW9655.97.0002"]
["APC","APC0052-00001PZ","Elettrodo in platino per ORP/RedOx Sension+ 5261, tappo a vite S7 (Hach Lange cod. LZW5261.97.0002)","pezzi",1,"HACH LANGE"," LZW5261.97.0002"]
["APC","APC0053-00001PZ","Manuale Vial Wiper per Torbidimetro Laser da banco TU5200 (Hach-Lange cod. LZY903)","pezzi",1,"HACH LANGE","LZY903"]
["APC","APC0054-00010PZ","Vial Compartment Wiper per Torbidimetro (Hach-Lange  cod. LZY910)","pezzi",10,"HACH LANGE","LZY910"]
["APC","APC055-00001PZ","Micro Fiber Cloth (Hach Lange cod. LZY945)","pezzi",1,"HACH LANGE","LZY945"]
["APC","APC056-00001PZ","Elettrodo DGi117-Water, pH combinato, plug and play, con sensore di temperatura integrato, intervallo di misura 1-11, con cavo certificato, compatibile con strumento TITOLATORE CHIMICO METTLER TOLEDO T50 (Mettler cod.51109506)","pezzi",1,"METTLER TOLEDO",51109506]
["APC","APCnocode8-00001PZ","Buffer solution, ftalato, Valore pH: 4,00, ±0,02 ; soluzione tampone pH  AVS TITRINORM  (VWR Chemicals  cod. 32095.297)","pezzi",1,"VWR","32095.297"]
["APC","APCnocode9-00001PZ","Buffer solution, fosfato, Valore pH: 7,00, ±0,02,soluzione tampone (tampone fosfato)  AVS TITRINORM  (VWR Chemicals  cod. 32096.291)","pezzi",1,"VWR","32096.291"]
["APC","APCnocode10-00001PZ","Cavo di collegamento con testa a vite S7, spina BNC. Diametro 3mm, lunghezza 1m (Geass  cod.3551733)","pezzi",1,"GEASS","3551733"]
["APC","APCnocode11-00001PZ","Elettrodo di pH LE409 - Con giunzione ceramica, sistema di riferimento Ag/AgCl , elettrolita 3M KCl sat. AgCl, corpo del sensore in vetro da 120 mm, diametro 12 mm, 1,0 m di cavo, BNC","pezzi",1,"METTLER TOLEDO",51340331]
["APC","APCnocode12-00001PZ","Elettrodo pH con corpo in plastica PEI, elettrolita in gel e connettore BNC (Hanna Instruments cod. HI1230B","pezzi",1,"HANNA Instruments"," HI 1230B"]
["APC","APCnocode13-00001PZ","Sonda  4-ring intercambiabile per  conducibilità  con sensore di temperatura integrato, ATC e cavo da 1 m, (HANNA Instrument cod. HI 76309)","pezzi",1,"HANNA Instruments"," HI 76309"]
["APC","APCnocode14-00001PZ"," Sonda  per  conducibilità e solidi disciolti totali con sensore di temperatura integrato, connettore DIN e cavo da 1 m ( HANNA Instrument cod. HI 76306)","pezzi",1,"HANNA Instruments"," HI 76306"]
["APC","APCnocode15-00001pz","Vial for online w/ seal TU5  (Hach-Lange  cod. LZY834)","pezzi",1,"HACH LANGE","LZY834"]
["APC","APCnocode16-00001pz","Elettrodo in vetro combinato  LL Unitrode Pt1000 (F/2mm) (Metrohm cod. 6.0258.010) ","pezzi",1,"METROHM ",60258010]
["APC","APCnocode17-00001pz","Elettrodo, conduttimetri, Orion™  2-electrode  (Thermo Fisher  cod.011050MD)","pezzi",1,"THERMO FISHER","011050MD"]
["APC","APCnocode18-00001pz","elettrodo combinato per pH tipo sentix 41  attacco DIN sensore di temperatura integrato cavo da 1 metro,  (WTW cod. 103635)","pezzi",1,"WTW",103635]
["APC","APCnocode19-00001pz","Sensore di temperatura, Acciaio inox, Pt 1000 (Hach Lange cod. CRI.5532.99)","pezzi",1,"HACH LANGE","CRI5532.99"]
["APC","APCnocode20-00001pz","Elettrodo pH Sension+, uso universale, corpo in vetro (Hach Lange cod. LZW5014.97.0002)","pezzi",1,"HACH LANGE","LZW5014.97.0002"]
["APC","APCnocode21-00001pz","Elettrodo per ORP da banco Sension+, 5057, ricaricabile, filo in platino, corpo in vetro (Hach Lange cod. LZW5057.97.0002)","pezzi",1,"HACH LANGE","LZW5057.97.0002"]
["APC","APCnocode22-01400pz","100ml standard polypropilene beakers (Recipienti di titolazione da 100ml) (Mettler Toledo cod. 00101974)","pezzi",1400,"METTLER TOLEDO","00101974"]
["APC","APCnocode23-00001pz","Elettrodo ad anello in Ag combinato Metrohm (Metrohm cod. 6.00450.100)","pezzi",1,"METROHM ",600450100]
["APC","APCnocode24-00001pz","Elettrodo di pH combinato mod. Flow, XS, con corpo in vetro e testa a vite S7. Diaframma in teflon a collare. Specifico per analisi vini (XS Sensor, cod. 32200373)","pezzi",1,"XS Sensor",32200373]